## Slide 1: New Employee Orientation
[Your Company Name]
[Year]
[Company Logo]

## Slide 2: Electrical Safety
[Your Company Name]
[Year]
[Company Logo]

## Slide 3: Electrical Safety
Electrical accidents can occur in any part of the job because we use electrical devices in every aspect of working.
Here we discuss electrical hazards and electrical safety.

## Slide 4: HAZARD
Hazard means:
  Any potential or actual threat to the wellbeing of people, machinery or environment
Electrical hazard safety means:
  Taking precautions to identify and control electrical hazards
Failing to take the necessary precautions can lead to:
  Injury or death
  Fire or property damage

## Slide 5: Electrical Safety
Electrical hazards exist in every workplace. Common causes of electrocution are:
Making contact with overhead wires
Undertaking maintenance on live equipment
Working with damaged electrical equipment, such as extension leads, plugs and sockets
Using equipment affected by rain or water ingress

## Slide 6: BE SAFE
Burns
Electrocution
Shock
Arc flash/arc blast
Fire
Explosions

## Slide 7: Reporting Electrical Incidents
Electricity is invisible – this in itself makes it dangerous
It has great potential to seriously injure or kill
The company has a duty of care to its employees and contractors
Everyone is exposed to electrical hazards, not just electricians
Report all electrical shocks and near misses

## Slide 8: Responding To Electrical Incidents
If you come across a person receiving an electric shock:
  if possible, disconnect the electrical supply (switch?)
  assess the situation – never put yourself at risk
  take precautions to protect yourself and anyone else in the vicinity
  apply the first aid principles (e.g. DRSABCD)
  assess the injuries and move the casualty to a safe area if required
  administer first aid if trained
  seek urgent medical attention

## Slide 9: Don’t Be A Victim
You could be the victim if you:
  don’t follow proper procedures around electricity
  use electrical equipment improperly
  use faulty electrical equipment

## Slide 10: Types of Electrical Injuries
Burns
Arc flash
Thermal contact
Shocks
Organ damage
Death

## Slide 11: Electrocution
Is fatal
Meaning: to kill with electrical shock
Results when a human is exposed to a lethal amount of electrical energy

## Slide 12: Shock
The body becomes part of the electrical circuit
Reflex response occurs to passage of electric current through the body

## Slide 13: Arc Flash/Arc Blast
Arc flash
  Sudden release of electrical energy through air when a high-voltage gap exists and there is a breakdown between conductors
  Gives off thermal radiation (heat) and bright, intense light that can cause burns
  Temperatures as high as 35,000°F
Arc blast – high-voltage arcs can also produce considerable pressure waves by rapidly heating the air and creating a blast

## Slide 14: FIRE
Most result from problems with "fixed wiring”
Problems with cords, plugs, receptacles, and switches also cause electrical fires

## Slide 15: Explosions
Occur when electricity ignites explosive mixture of material in the air
Note:
  Electricity is source of these hazards
  All hazards are of equal importance
  Lesson focuses on eliminating electrical hazards

## Slide 16: Dangers
Damaged or bare wires
  Fault current may travel through a body, causing electrical burns or death, if
    Power supply is not grounded
    Path has been broken
    There are live parts or bare wires
  Extreme conditions and rough treatment can change electrical equipment from safe to hazardous
  Poor and improper repairs

## Slide 17: Power Strips
  Can be over loaded because of multiple plug arrangement
  Most have overload protection but often malfunction causing fire
  Use fixed wiring when possible

## Slide 18: Portable Heaters and Appliances
  Fires and electrical accidents occur when people do not follow the manufacturer recommendations.
  This can include the type of outlet and the electrical capacity required to handle to heater.
  Do not plug into a power strip! This causes overloads and fires.

## Slide 19: Affects of Electricity
AC Current (mA) | Effect To The Human Body
1 | Tingling or buzzing sensation
2-9 | Small shock
10-24 | Muscle contraction, muscle locking – “Can’t let go”
25-74 | Paralysis of respiratory muscles, exit burns visible
75-300 | Usually fatal, heart dysrhythmia, entry & exit wounds
>300 | Death certain, if resuscitated will have organ damage, likely amputations

## Slide 20: Contact With Energized Sources
Live parts of electrical wire or outlet:
    Electrical shock and burns
    Electrical shock occurs when the body becomes part of the electric circuit

## Slide 21: Severity
Severity and effects of an electrical shock depend on a number of factors
    Pathway through the body
    Amount of current
    Length of time of the exposure
    Whether skin is wet or dry

## Slide 22: Water
    Great conductor
    Allows current to flow more easily in wet conditions and through wet skin

## Slide 23: Power Lines
Overhead and buried power lines carry extremely high voltage
Risks
  Electrocution (main risk)
  Burns and falls
Do you know if there are overhead power lines on your site?
Do you know where they are located?
Do you know what the safe work clearance is?
Strict regulations are laid down to cover any work that may have to be performed close to overhead power lines

## Slide 24: What To Do
For low voltage electricity >50 V AC and 110 V DC
  remove the source of electricity supply
  commence CPR if trained
  call the emergency number on site
For high voltage electricity >1000 V
  call the emergency number for your site
  don’t go near the casualty
  don’t touch the casualty or try to free them with anything

## Slide 25: Protecting Yourself
Don’t wear metal objects when working with electricity
Turn power off before working with electricity
Wear appropriate clothing
Don’t touch live parts of wires, outlets, and transformers
Don’t install or repair electrical equipment
Use qualified personnel
Clean and dry leads and plugs before use
Use PPE

## Slide 26: GFCIs
Use ground-fault circuit interrupters (GFCI):
Designed to protect people from electrical shock
Detects ground faults and interrupts electric current
Limits duration of electrical shock

## Slide 27: Safety Measures
Heed warning signs
Use the right equipment
Study the operation manual
Take care of extension leads
Use only approved extension lamps
Don’t pull on leads
Use residual current devices – RCDs
Use the proper fuses and circuit breakers

## Slide 28: You Responsibility
When using an electrical tool or equipment:
  Workers need to inspect extension cords prior to their use for any cuts or abrasion.
  Electric hand tools that are old, damaged, or misused may have damaged insulation inside.
  Be sure there is enough slack to the electrical cord
  Be sure the electrical cord does not cross traffic areas where people are walking

## Slide 29: Follow Instructions
Use power tools and equipment as designed:
  Follow tool safety tips to avoid misusing equipment
  Follow manufacturer’s instructions
  Avoid accidental starting. Do not hold fingers on the switch button while carrying a plugged-in tool.
  Use gloves and appropriate footwear.
  Store in dry a place when not using.

## Slide 30: Tool Safety Tips
Never carry a tool by the cord.
Never yank the cord to disconnect it.
Keep cords away from heat, oil, and sharp edges.
Disconnect when not in use and when changing accessories such as blades and bits.
Don’t use in wet/damp environments.
Keep working areas well lit.
Ensure that cords do not cause a tripping hazard.
Remove damaged tools from use.
Use double-insulated tools.

## Slide 31: Safety Inspections
Electrical equipment and tools should be checked each time before use for defects
Be sure there is a current inspection sticker on the equipment or tool
If not tagged or the tag is out of date then report it and place it out of service

## Slide 32: To Summarize
The risk of electric shock from correctly installed and maintained power sources is negligible, provided that sensible precautions are taken by the operator and correct work procedures are followed
Ensure that the right person is carrying out electrical work – licensed versus competent
Electricity is essential but, improperly used, it can be DEADLY!

## Slide 33: STAY ALERT
To STAY ALIVE, you have to STAY ALERT